## cost structure
Original
| renewable | solar | wind | cost storage energy in bn euro | cost storage power in bn euro | cost investment conventional in bn euro - base | cost investment conventional in bn euro - peak | cost operation conventional in bn euro - base | cost operation conventional in bn euro - peak | diff to total cost | cost total Original |  | 'capacities storage GWh | 'capacities storage GW
20 | 7.6183 |  |  |  |  | 6.0607 |  | 12.3269 |  | 1.3715 | 27.3774 | 26.0059
25 | 9.5236 |  |  |  |  | 5.8568 |  | 11.525 |  | 1.5019 | 28.4074 | 26.9055
30 | 11.4448 |  |  |  |  | 5.6797 | 1.0445 | 10.7274 |  | 0.56451 | 29.4609 | 28.8964
35 | 13.415 |  |  |  |  | 5.5048 | 1.1113 | 9.9277 |  | 0.60876 | 30.5676 | 29.9588
40 | 15.5109 |  |  | 0.045098 |  | 5.2931 | 1.0601 | 9.157 |  | 0.72461 | 31.7907 | 31.0661 | 8.3235 | 2.8059
45 | 17.7322 |  |  | 0.098184 |  | 5.1031 | 1.0388 | 8.381 |  | 0.81017 | 33.1634 | 32.3532 | 18.1214 | 4.7537
50 | 20.1087 |  |  | 0.18933 |  | 4.908 | 1.0445 | 7.6016 |  | 0.87745 | 34.7295 | 33.8521 | 34.9439 | 6.1629
55 | 22.7599 |  |  | 0.29096 |  | 4.7186 | 1.0476 | 6.8187 |  | 0.95155 | 36.5873 | 35.6357 | 53.7003 | 7.5268
60 | 25.4286 |  |  | 0.58576 |  | 4.4399 | 1.0321 | 6.0447 |  | 1.2548 | 38.7858 | 37.531 | 108.1107 | 13.7306
65 | 28.1907 |  |  | 0.95586 | 1.1059 | 4.1507 | 1.009 | 5.2614 |  | 0.56675 | 41.2404 | 40.6737 | 176.419 | 21.6866
70 | 31.1056 |  |  | 1.2478 | 1.4937 | 3.8921 | 1.0036 | 4.3682 |  | 0.85208 | 43.9632 | 43.1111 | 230.3044 | 29.2911
75 | 34.374 |  |  | 1.7024 | 1.9033 | 3.4865 | 1.0751 | 3.5513 |  | 0.95045 | 47.0429 | 46.0925 | 314.1978 | 37.3223
80 | 37.8176 |  |  | 2.5029 | 2.3366 | 3.0122 | 1.1401 | 2.7414 |  | 1.0328 | 50.5836 | 49.5508 | 461.9432 | 45.8201
85 | 41.6943 |  |  | 3.7543 | 2.6446 | 2.5072 | 1.1837 | 1.9479 | 1.0068 | 0.06711 | 54.806 | 54.7389 | 692.9143 | 51.8594
90 | 46.3102 |  |  | 5.835 | 2.966 | 1.7121 | 1.2806 | 1.112 | 1.1425 | 0.079766 | 60.4381 | 60.3584 | 1076.9326 | 58.1627
95 | 54.0203 |  |  | 8.8513 | 3.3663 |  | 1.4435 |  | 1.2302 | 1.0064 | 69.9181 | 68.9116 | 1633.6427 | 66.0122
100 | 68.4256 |  |  | 30.5364 | 3.6918 |  |  |  |  | 0.087753 | 102.7417 | 102.6539 | 5635.9608 | 72.3956
Germany10K
|  | solar | wind | cost storage energy in bn euro | cost storage power in bn euro | cost investment conventional in bn euro - base | cost investment conventional in bn euro - peak | cost operation conventional in bn euro - base | cost operation conventional in bn euro - peak | diff to total cost | cost total Germany10K |  | 'capacities storage GWh | 'capacities storage GW
20 |  | 4.399 |  |  |  | 6.4134 |  | 12.3118 |  | 1.3027 | 24.4269 | 23.1242
25 |  | 5.5982 |  |  |  | 6.3773 |  | 11.525 |  | 1.3313 | 24.8318 | 23.5005
30 |  | 7.2246 |  |  |  | 6.3292 |  | 10.7355 |  | 1.372 | 25.6613 | 24.2893
35 |  | 7.4759 | 2.0461 | 0.041159 |  | 5.9815 |  | 9.9557 |  | 1.5027 | 27.0032 | 25.5005 | 7.5964 | 2.3643
40 |  | 7.6001 | 4.303 | 0.098915 |  | 5.683 |  | 9.167 |  | 1.6431 | 28.4951 | 26.852 | 18.2563 | 4.086
45 |  | 7.7777 | 6.6063 | 0.15668 |  | 5.4362 |  | 8.3829 |  | 1.7565 | 30.1163 | 28.3598 | 28.9184 | 5.6485
50 |  | 8.1108 | 8.9728 | 0.23995 |  | 5.1703 |  | 7.59 |  | 1.9015 | 31.9852 | 30.0838 | 44.2863 | 7.3323
55 |  | 8.4785 | 11.5621 | 0.39422 |  | 4.9107 |  | 6.8071 |  | 2.0213 | 34.174 | 32.1527 | 72.7589 | 10.0493
60 |  | 9.0757 | 14.3354 | 0.58439 |  | 4.6355 |  | 6.0199 |  | 2.1589 | 36.8098 | 34.6509 | 107.8582 | 12.9244
65 |  | 9.5265 | 17.7811 | 0.6775 |  | 4.3502 |  | 5.2261 |  | 2.4062 | 39.9676 | 37.5614 | 125.042 | 16.2403
70 |  | 10.0664 | 21.5085 | 1.0028 | 1.0547 | 4.012 |  | 4.4362 |  | 1.5485 | 43.6293 | 42.0807 | 185.0875 | 20.6829
75 |  | 10.8636 | 25.5503 | 1.4381 | 1.3842 | 3.6479 |  | 3.6545 |  | 1.4916 | 48.0302 | 46.5385 | 265.4153 | 27.1437
80 |  | 11.8207 | 29.9681 | 2.2712 | 1.7517 | 3.1364 |  | 2.848 |  | 1.5928 | 53.3889 | 51.7961 | 419.1901 | 34.3497
85 |  | 13.0604 | 35.1088 | 3.2624 | 2.1712 | 2.6205 |  | 2.0562 |  | 1.6591 | 59.9385 | 58.2794 | 602.1221 | 42.5772
90 |  | 14.5801 | 41.1445 | 5.6929 | 2.6018 | 1.8614 |  | 1.2387 |  | 1.8082 | 68.9275 | 67.1193 | 1050.7154 | 51.0197
95 |  | 16.1393 | 49.6632 | 8.9443 | 3.3222 |  | 1.0322 |  |  | 2.2753 | 81.3765 | 79.1012 | 1650.8135 | 65.1476
100 |  | 19.249 | 65.5894 | 35.4947 | 3.4983 |  |  |  |  | 0.073864 | 123.9053 | 123.8314 | 6551.0927 | 68.6004
Diff between models
| renewable | solar | wind | cost storage energy in bn euro | cost storage power in bn euro | cost investment conventional in bn euro - base | cost investment conventional in bn euro - peak | cost operation conventional in bn euro - base | cost operation conventional in bn euro - peak | diff to total cost
20 | 0 |  |  | 0 | 0 | -0.35274 | 0 | 0.015116 | 0 | 0.068776 | 2.9505 | -0.33763
25 | 0 |  |  | 0 | 0 | -0.52044 | 0 | 7.5539e-05 | 0 | 0.17064 | 3.5757 | -0.52036
30 | 0 |  |  | 0 | 0 | -0.64946 | 1.0445 | -0.0081276 | 0 | -0.80749 | 3.7996 | 0.38695
35 | 0 |  |  | -0.041159 | 0 | -0.47673 | 1.1113 | -0.028029 | 0 | -0.89394 | 3.5644 | 0.56537
40 | 0 |  |  | -0.053817 | 0 | -0.38995 | 1.0601 | -0.0099643 | 0 | -0.91847 | 3.2956 | 0.60633
45 | 0 |  |  | -0.0585 | 0 | -0.33312 | 1.0388 | -0.0018862 | 0 | -0.94631 | 3.0472 | 0.64528
50 | 0 |  |  | -0.050619 | 0 | -0.26228 | 1.0445 | 0.011558 | 0 | -1.024 | 2.7443 | 0.74311
55 | 0 |  |  | -0.10326 | 0 | -0.19217 | 1.0476 | 0.011618 | 0 | -1.0697 | 2.4133 | 0.76377
60 | 0 |  |  | 0.0013679 | 0 | -0.19561 | 1.0321 | 0.024776 | 0 | -0.90413 | 1.976 | 0.86266
65 | 0 |  |  | 0.27837 | 1.1059 | -0.19948 | 1.009 | 0.035274 | 0 | -1.8395 | 1.2728 | 2.2291
70 | 0 |  |  | 0.24499 | 0.43898 | -0.11987 | 1.0036 | -0.068032 | 0 | -0.69644 | 0.33392 | 1.4997
75 | 0 |  |  | 0.26431 | 0.51906 | -0.16141 | 1.0751 | -0.10321 | 0 | -0.54119 | -0.98721 | 1.5938
80 | 0 |  |  | 0.23164 | 0.58494 | -0.12425 | 1.1401 | -0.10664 | 0 | -0.55997 | -2.8053 | 1.7258
85 | 0 |  |  | 0.49193 | 0.47335 | -0.11332 | 1.1837 | -0.10824 | 1.0068 | -1.592 | -5.1325 | 2.9343
90 | 0 |  |  | 0.14205 | 0.36426 | -0.14933 | 1.2806 | -0.12665 | 1.1425 | -1.7284 | -8.4894 | 2.6535
95 | 0 |  |  | -0.093034 | 0.044091 | 0 | 0.41137 | 0 | 1.2302 | -1.2689 | -11.4584 | 1.5926
100 | 0 |  |  | -4.9583 | 0.19354 | 0 | 0 | 0 | 0 | 0.013889 | -21.1636 | -4.7648