## sensitivity_scen
scenario | E capacity | P capacity | Change in Storage Energy capacity in 10 GWh | Change in Storage Power capacity in GW | explanation
Double cost storage | 100.9599 | 13.3196 | -10.8692 | -5.6196 | Double storage costs for investment and variable costs
Half cost storage | 398.7361 | 27.0065 | 18.9084 | 8.0674 | Half storage costs for investment and variable costs
RES Area Use -30% | 203.0803 | 18.8238 | -0.65718 | -0.1153 | 30% less area for RES necessary
RES Area Use +30% | 251.2548 | 23.0663 | 4.1603 | 4.1272 | 30% more area for RES necessary (e.g. 1.3 for turbine)
Store all | 337.0507 | 45.1473 | 12.7399 | 26.2082 | Storage for generator types
+10% demand | 265.2516 | 25.0323 | 5.56 | 6.0932 | 10% demand increase in all hours
-20% RES costs | 181.6857 | 17.4282 | -2.7966 | -1.5109 | 20% less investment costs for RES
+10% peak demand | 339.4553 | 43.9403 | 12.9803 | 25.0011 | 10% demand increase in peak hours (hours above 3rd quantile)
|  |  | 0.19844 | 0.21792
BASELINE SCENARIO 80% SHARE |  |  |  | 0.32172
| 209.652 | 18.9391
These sensitivities are calculcated for 80% renewable share
| 1 pc increase in E | 2.0965
| 1 pc increase in P | 0.18939
| 10 GWH means increase | 0.047698
| 1 GW means increase | 0.052801